## Change Log - Value Lists
Version | Change Date | Author | Change Description
1.9 | 2017-07-19 | Rich Adase | Removed obsolete lists associated with duct/conduit model
2.0 | 2017-08-14 | Rich Adase | Bypass Fuse Rating: new list for Recloser; values TBD but must include DISCONNECT Duct State: new list (Usable, Collapsed, Stub) Phase: added columns to allow filtering for device units based on phase quantity, and for Phase Connectors or wires based on Y/N flags Secondary Box Type: replaced list with three types of Handhole (Secondary, Street Light, Donated) and three types of Pedestal (1 phase, 3 phase, Donated) Secondary Bundle Code: dropped, since it is CU driven and won't require a picklist Secondary Conductor Type: removed NEUTRAL, added BUS Street Direction: new list for Premise Leading/Trailing Direction Traffic Light City: new list, needs values Traffic Light Account: new list, needs values Traffic Light Rate Code: new list, needs values Transformer Bank Configuration: deleted invalid values combining both primary and secondary configuration (e.g.- Delta Delta) Transformer Bank Type: dropped, since it only showed ownership distinctions (OH, Pad, Vault) Transmission Tower Type: populated list (Lattice, Steel, Wood, Concrete Wire Phase: dropped (see Phase above)
2.1 | 2017-08-14 | Rich Adase | SCADA Device Function: Added G3E_FNO column to support field value filtering based on feature class, and updated to latest values per 8/11 meeting
2.1 | 2017-08-23 | Rich Adase | Added Inner Duct Color Dropped Isolation Types (since they are now each separate feature classes)
2.2 | 2017-09-28 | Rich Adase | Removed tables that will be loaded as reference data from WMIS (WMISREF_VOUCHER_CODE and WMISREF_FERC_ACCOUNT); now documented in WMIS IDD Converted WMISREF_COST_CMPT to a typical value list VL_COST_COMPONENT, since that data will not be loadable as reference data from WMIS
2.2 | 2017-09-28 | Rama Ankam | Deleted VL_VAULT_PROT_TYPE (Valult Protection Type) value list as the feature has been deprecated.
2.2 | 2017-09-28 | Rama Ankam | Updated VL_VAULT_EQPT_TYPE (Valult Equipment Type) value list.
2.3 | 2017-10-02 | Rich Adase | Added new value list VL_CIAC_CODE
2.3 | 2017-10-04 | Rama Ankam | Updated VL_DOCNOTE_TYPE values.
2.5 | 2017-11-17 | Rama Ankam | Added VL_OP_CENTER, VL_OP_DISTRICT and VL_OP_SERVICE_CENTER value lists.
00.02.08 | 2018-01-11 | Rama Ankam | Deleted VL_FIELD_CHECK_STATUS as the corresponding feature FIELD CHECK does not exist in the model anymore.
00.02.08 | 2018-01-11 | Rama Ankam | Added HYPERLINK TYPE value list that will go on Hyperlink Typ on HYPERLINK_N and JOB_HYPERLINK_N components.

## Sheet Index
Value List | Sheet | G3E_PICKLIST.G3E_FILTER
AMS Collector Type | VL_AMSCOLL_TYPE
Area Light Lamp Type | VL_AREALT_LAMP_TYPE
Area Light Lamp USE | VL_AREALT_LAMP_USE
Area Light Wattage | VL_AREALT_WATTAGE
Arrestor Class | VL_ARRESTOR_CLASS
Arrestor Voltage | VL_ARRESTOR_VOLTAGE
Attachment Compnay | VL_ATTACH_COMPANY
Attachment Maintainer | VL_ATTACH_MAINT
Attachment Messenger Type | VL_MSNGR_ATTACH_TYPE
Attachment Permit Source | VL_ATTACH_PERMIT_SOURCE
Attachment Position Equipment | VL_EQP_ATTACH_POSITION
Attachment Status | VL_ATTACH_STATUS
Autotransformer Bank Type | VL_AUTOXFMR_BANK_TYPE
Bundle Type | VL_BUNDLE_TYPE
Bypass Fuse Rating | VL_BYPASS_FUSE_RATING
Capacitor Bank Function | VL_CAP_BANK_FUNCTION
Capacitor Control Type | VL_CAP_CONTROL_TYPE
Census Boundary Type | VL_CENSUS_BNDY_TYPE
Certification Boundary Type | VL_CERT_BNDY_TYPE
CIAC Codes | VL_CIAC_CODE
Circuit Breaker Use | VL_CIRCUIT_BREAKER_USE
Compatible Unit Account Code | VL_CU_ACCOUNT
Compatible Unit Activity Code | VL_CU_ACTIVITY
Conduit Material | VL_CONDUIT_MATERIAL
Conduit Size | VL_CONDUIT_SIZE
Configuration | VL_CONFIGURATION
Corrections Tag Status | VL_CORRECT_TAG_STATUS
County Filing Location | VL_CNTY_FILING_LOC
CU Retirement Type | VL_RETIREMENT_TYPE
Customer Generation Type | VL_CUSTGEN_TYPE
Customer Generation Use Code | VL_CUSTGEN_USE_CODE
DA Anetenna Type | VL_DA_ANTENNA_TYPE
DA Radio Type | VL_DA_RADIO_TYPE
Design Responsibility | VL_DESIGN_RESP
DOC Note Type | VL_DOCNOTE_TYPE
Duct State | VL_DUCT_STATE
Easement Type | VL_EASEMENT_TYPE
Equipment Attachment Type | VL_EQP_ATTACH_TYPE
Facility Front Code | VL_FACILITY_FRONT_CODE
Feed Type | VL_FEED_TYPE
Feeder Position | VL_FEEDER_POSITION
Feeder Type | VL_FEEDER_TYPE
FIPS Mapping Table | VL_COUNTY
Foreign Cable Position | VL_FORCABLE_POSITION
Foreign Cable Type | VL_FORCABLE_TYPE
Fuse Holder Type | VL_FUSE_HOLDER_TYPE
Fuse Interrupt Rating | VL_FUSE_INTERRUPT_RATING
Guy Type | VL_GUY_TYPE
Hyperlink Type | VL_HYPERLINK_TYPE
Inner Duct Color | VL_INNER_DUCT_COLOR
Institution CFCC Code | VL_INSTITUTION_CFCC
Insulation Material | VL_INSULATION_MATERIAL
Insulation Voltage | VL_INSULATION_VOLTAGE
Landbase Stage | VL_LANDBASE_STAGE
Landmark CFCC Code | VL_LANDMARK_CFCC
Level of Confidence Grade | VL_LOC_GRADE
Lifecycle States | VL_LIFECYCLE_STATES
Maintained By | VL_MAINTAINED_BY
Maintained Required Type | VL_MAINT_REQ_TYPE
Manhole Stacking | VL_MH_STACKING
Manhole Type | VL_MH_TYPE
Misc Structure Type | VL_MISC_STRUCTURE_TYPE
Network Fuse Insde Outside | VL_NETFUSE_INSIDEOUTSIDE
Network Protector Mount Type | VL_NETPROT_MOUNT
Network Protector Relay Manufacturer Code | VL_NETPROT_RELAY_MFR
Network Protector Relay Type | VL_NETPROT_RELAY_TYPE
Network Protector Type | VL_NETPROT_TYPE
Node Type | VL_NODE_TYPE
Open/Close Status | VL_OPEN_CLOSE
Operational Center | VL_OP_CENTER
Operational District | VL_OP_DISTRICT
Operational Service Center | VL_OP_SERVICE_CENTER
Operating Voltage - Primary | VL_VOLTAGE_PRIMARY
Operating Voltage - Secondary | VL_VOLTAGE_SECONDARY
Operational Boundary Type | VL_OPERATIONAL_BND_TYPE
Orientation | VL_ORIENTATION
Owner Type | VL_OWNER_TYPE
Pad Material | VL_PAD_MATERIAL
Pad Size | VL_PAD_SIZE
Parcel Type | VL_PARCEL_TYPE
Parcel Zoning | VL_PARCEL_ZONING
Permit Type | VL_PERMIT_TYPE
Phase | VL_PHASE
Phase - Connector | VL_PHASE | CONNECTOR_YN='Y'
Phase - Wire | VL_PHASE | WIRE_YN='Y'
Phase Position | VL_PHASE_POSITION
Pipeline Material | VL_PIPELINE_MATERIAL
Pipeline Type | VL_PIPELINE_TYPE
Plat Source | VL_PLAT_SOURCE
Pole Class | VL_POLE_CLASS
Pole Construction Type | VL_POLE_CONST_TYPE
Pole Height | VL_POLE_HEIGHT
Pole Material | VL_POLE_MATERIAL
Pole Owner | VL_POLE_OWNER
Political Boundary Type | VL_POLITICAL_BND_TYPE
PPOD Class | VL_PPOD_CLASS
Premise Dwelling Type | VL_PREMISE_DWELLING_TYPE
Primary Conductor Construction Type | VL_PRICOND_CONSTR_TYPE
Protection Type | VL_XFMR_PROTECTION_TYPE
Pull Box Material | VL_PULLBOX_MATERIAL
Pull Box Size | VL_PULLBOX_SIZE
Pull Box Type | VL_PULLBOX_TYPE
Rack Material | VL_RACK_MATERIAL
Rack Type | VL_RACK_TYPE
Radio/Router Power Type | VL_DA_EQPT_POWER
Recloser Type | VL_RECLOSER_TYPE
Right of Way Type | VL_RIGHTWAY_TYPE
Riser Type | VL_RISER_TYPE
Riser Usage | VL_RISER_USAGE
SCADA Device Function | VL_SCADA_DEVICE_FUNCTION
Secondary Box Material | VL_SECBOX_MATERIAL
Secondary Box Size | VL_SECBOX_SIZE
Secondary Box Type | VL_SECBOX_TYPE
Secondary Box Use | VL_SECBOX_USE
Secondary Conductor Type | VL_SECCOND_TYPE
Secondary Node Type | VL_SECCONDNODE_TYPE
Secondary Switch Gear Enclosure Type | VL_SSWG_ENCLOSURE_TYPE
Service Placement Type | VL_SERVICE_PLACEMENT_TYPE | VL_KEY != 'AUTOMATED'
Service Point Type | VL_SERVICEPOINT_TYPE
Service Type | VL_SERVICE_TYPE
Special Use Types | VL_SPECIALUSE_TYPE
Status | VL_STATUS
Street Direction | VL_STREET_DIR
Street Light Connection Status | VL_STLT_CONN_STATUS
Street Light Lamp Type | VL_STLT_LAMP_TYPE
Street Light Luminaire Style | VL_STLT_LUM_STYLE
Street Light Rate Code | VL_STLT_RATE_CODE
Street Light Rate Schedule | VL_STLT_RATE_SCHED
Street Light Type | VL_STLT_TYPE
Street Light Wattage | VL_STLT_WATTAGE
Substation Transformer Type | VL_SUB_XFMR_TYPE
Substation Type | VL_SUBSTATION_TYPE
Switch Gear Control Type | VL_SWITCH_CONTROL_TYPE
Switch Type | VL_SWITCH_TYPE
Tax Jurisdiction Entities | TAX_JURISDICTION
Telecom Antenna Type | VL_TELECOM_ANT_TYPE
Telecom Radio System | VL_TELECOM_RADIO_SYSTEM
Traffic Light Account | VL_TRAFFIC_ACCOUNT
Traffic Light City | VL_TRAFFIC_CITY
Traffic Light Rate Code | VL_TRAFFIC_RATE_CODE
Transformer Bank Configuration | VL_XFMR_BANK_CONFIG
Transformer Protection Type | VL_XFMR_PROT_TYPE
Transit CFCC Code | VL_TRANSIT_CFCC
Transmission Tower Type | VL_TRANS_TOWER_TYPE
Trip Current Rating | VL_TRIP_CURRRENT_RATING
Vault Equipment Type | VL_VAULT_EQPT_TYPE
Vault Location Type | VL_VAULT_ACC_TYPE
Vault Voltage | VL_VAULT_VOLTAGE
Voucher Cost Component | VL_COST_COMPONENT
Wire Material | VL_WIRE_MATERIAL
Wire Size | VL_WIRE_SIZE
Wire Type | VL_WIRE_TYPE
Wireline Attachment Position | VL_COMMS_ATTACH_POSITION
Wireline Attachment Type | VL_COMMS_ATTACH_TYPE
Work Point Type | VL_WORKPOINT_TYPE
Y/N | VL_YES_NO
Y/N/UNK | VL_YES_NO_UNK

## VL_AMSCOLL_TYPE
VL_AMSCOLL_TYPE | AMS Collector Type
VL_KEY | VL_VALUE | UNUSED | ORDINAL
COLLECTOR | COLLECTOR | 0 | 1
SL GATEWAY | SL GATEWAY | 0 | 2

## VL_AREALT_LAMP_TYPE
VL_AREALT_LAMP_TYPE | Area Light Lamp Type
VL_KEY | VL_VALUE | UNUSED | ORDINAL
FL | FL | 0 | 1
HP | HP | 0 | 2
MH | MH | 0 | 3
MV | MV | 0 | 4
LE | LE | 0 | 5

## VL_AREALT_LAMP_USE
VL_AREALT_LAMP_USE | Area Light Lamp Use
VL_KEY | VL_VALUE | UNUSED | ORDINAL
F | FLOOD | 0 | 1
G | GUARD | 0 | 2

## VL_AREALT_WATTAGE
VL_KEY | VL_VALUE | UNUSED | ORDINAL
0 | 0 | 0 | 1
100 | 100 | 0 | 2
150 | 150 | 0 | 3
175 | 175 | 0 | 4
200 | 200 | 0 | 5
250 | 250 | 0 | 6
295 | 295 | 0 | 7
400 | 400 | 0 | 8
VL_AREALT_WATTAGE | Area Light Wattage

## VL_ARRESTOR_CLASS
VL_ARRESTOR_CLASS | Arrestor Class
VL_KEY | VL_VALUE | UNUSED | ORDINAL

## VL_ARRESTOR_VOLTAGE
VL_ARRESTOR_VOLTAGE | Arrestor Voltage
VL_KEY | VL_VALUE | UNUSED | ORDINAL

## VL_ATTACH_COMPANY
VL_ATTACH_COMPANY | Attaching Company
VL_KEY | VL_VALUE | UNUSED | ORDINAL
1 | Aligned Data Centers | 0 | 1
2 | Alliance Bank | 0 | 2
3 | Alpha Systems | 0 | 3
4 | Alpheus Communications LP | 0 | 4
5 | Andrews ISD | 0 | 5
6 | Anna ISD | 0 | 6
7 | Ash Creek Baptist Church | 0 | 7
8 | ATC Outdoor DAS LLC. | 0 | 8
9 | Atmos Energy | 0 | 9
10 | Austin Bank | 0 | 10
11 | Bell County | 0 | 11
12 | Bordercomm Partners LP | 0 | 12
13 | Brazos Tel Co-op Inc. | 0 | 13
14 | Broadwing Communications OH | 0 | 14
15 | Brooks Fiber Comm. of Texas Inc. - OH | 0 | 15
16 | Brooks Fiber Comm. of Texas Inc. - UG | 0 | 16
17 | Brushy Creek MUD | 0 | 17
18 | Buford Media | 0 | 18
19 | Cableone | 0 | 19
20 | Cameron ISD | 0 | 20
21 | Central Texas Cable Partners d/b/a Reveille Broadband | 0 | 21
22 | Century Tel Fiber Co II, LLC | 0 | 22
23 | CenturyTel of Lake Dallas, Inc. | 0 | 23
24 | Charter Communications VI, LLC | 0 | 24
25 | Cherokee County | 0 | 25
26 | City of Allen | 0 | 26
27 | City of Arlington | 0 | 27
28 | City of Austin | 0 | 28
29 | City of Belton | 0 | 29
30 | City of Celina | 0 | 30
31 | City of Colleyville | 0 | 31
32 | City of The Colony | 0 | 32
33 | City of Commerce Police Department | 0 | 33
34 | City of Dallas - McKinney Ave Trolley Assoc. | 0 | 34
35 | City of Dallas CIS (McCommas Bluff Landfill) | 0 | 35
36 | City of Dallas Dept. of Equip. & Bldg. Serv. | 0 | 36
37 | City of Dallas Public Works & Transp. | 0 | 37
38 | City of Dallas Security Cameras | 0 | 38
39 | City of Farmers Branch | 0 | 39
40 | City of Georgetown | 0 | 40
41 | City of Grand Prairie | 0 | 41
42 | City of Harker Heights | 0 | 42
43 | City of Hurst | 0 | 43
44 | City of Irving | 0 | 44
45 | City of Killeen | 0 | 45
46 | City of McKinney | 0 | 46
47 | City of Midland - FOLA | 0 | 47
48 | City of Odessa | 0 | 48
49 | City of Pflugerville | 0 | 49
50 | City of Plano | 0 | 50
51 | City of Roanoke | 0 | 51
52 | City of Round Rock | 0 | 52
53 | City of Rowlett | 0 | 53
54 | City of Stephenville - FOLA | 0 | 54
55 | City of Taylor | 0 | 55
56 | City of University Park | 0 | 56
57 | City of Waco | 0 | 57
58 | City of Waxahachie | 0 | 58
59 | City of Wichita Falls | 0 | 59
60 | City of Willow Park | 0 | 60
61 | CitySquare | 0 | 61
62 | CMC Network Solutions LLC | 0 | 62
63 | Coleman County Telephone Co-op | 0 | 63
64 | Collin County | 0 | 64
65 | Collin County Community College District | 0 | 65
66 | Comcell Inc. (COVERS TSP BELOW) | 0 | 66
67 | Comcell Inc. (SAME AS CATV ABOVE) | 0 | 67
68 | Complete Networking Solutions | 0 | 68
69 | Consolidated Comm.Trans.Co. (OH & UG) | 0 | 69
70 | Consolidated Communications of Texas | 0 | 70
71 | Conterra Ultra Broadband LLC | 0 | 71
72 | Coppell ISD | 0 | 72
73 | Copperas Cove ISD | 0 | 73
74 | Cox Communications West Texas Inc. | 0 | 74
75 | Crown Castle NG Central LLC | 0 | 75
76 | Cumby Tel Co-op Inc. | 0 | 76
77 | Cutter Communications, Inc. | 0 | 77
78 | Dallas MTA, L.P., dba Verizon Wireless* | 0 | 78
79 | Decatur ISD | 0 | 79
80 | Denison ISD | 0 | 80
81 | Digital Passage | 0 | 81
82 | Dublin ISD - FOLA | 0 | 82
83 | Duncanville ISD | 0 | 83
84 | East Texas Cable Company | 0 | 84
85 | Eastex Celco L.L.C. | 0 | 85
86 | Eastex Telephone | 0 | 86
87 | Elgin ISD | 0 | 87
88 | Enchanted Rock Electric LLC | 0 | 88
89 | Erath County | 0 | 89
90 | Extenet (Clearlinx Network Corp.) | 0 | 90
91 | FEC Communications | 0 | 91
92 | FiberLight | 0 | 92
93 | Foremost Telecommunications | 0 | 93
94 | Frisco ISD | 0 | 94
95 | Godley ISD - FOLA | 0 | 95
96 | Graham ISD | 0 | 96
97 | Grande Communications Networks, Inc. | 0 | 97
98 | Grayson Cable Rocket LLC | 0 | 98
99 | Harris Broadband | 0 | 99
100 | Highgate Power | 0 | 100
101 | Hill College | 0 | 101
102 | Hillsboro ISD | 0 | 102
103 | Howard Payne University | 0 | 103
104 | Hutto ISD | 0 | 104
105 | Italy ISD | 0 | 105
106 | Jacksonville ISD | 0 | 106
107 | James Cable LLC (Vyve Broadband J) | 0 | 107
108 | Jubilee Park & Community Center Corp | 0 | 108
109 | KDL | 0 | 109
110 | Koyote Telephone (ENET SOLUTIONS) | 0 | 110
111 | Lamesa ISD | 0 | 111
112 | Level 3 Communications LLC | 0 | 112
113 | Lipan Telephone | 0 | 113
114 | Logix Communications | 0 | 114
115 | LynnStar Communications Inc. | 0 | 115
116 | Master Meter Inc | 0 | 116
117 | MCI Metro Access Trans. Services - OH | 0 | 117
118 | MCI Metro Access Trans. Services - UG & OH | 0 | 118
119 | Melissa ISD | 0 | 119
120 | Metropolitan Fiber Systems Dallas - OH | 0 | 120
121 | Metropolitan Fiber Systems Dallas - UG | 0 | 121
122 | Mexia ISD | 0 | 122
123 | Midway ISD | 0 | 123
124 | Millennium Telcom LLC | 0 | 124
125 | Millsap ISD | 0 | 125
126 | Mitchell County | 0 | 126
127 | Mobilitie Investments III, LLC. | 0 | 127
128 | Moody ISD - FOLA | 0 | 128
129 | Muenster Telephone | 0 | 129
130 | NEC Corporation of America | 0 | 130
131 | Network Communications Telecom | 0 | 131
132 | New Cingular Wireless PC LLC* | 0 | 132
133 | NextEra FiberNet LLC | 0 | 133
134 | North Texas Cellular Inc. | 0 | 134
135 | North Texas Communications | 0 | 135
136 | North Texas Tollway Authority | 0 | 136
137 | Northland Cable Properties | 0 | 137
138 | Northland Cable Television, Inc. | 0 | 138
139 | Northland Cable Ventures | 0 | 139
140 | Northwood University | 0 | 140
141 | NTS Communications Inc | 0 | 141
142 | NTS Communications Inc | 0 | 142
143 | One Ring Networks Inc. | 0 | 143
144 | Opus Fortunatus Three LLC | 0 | 144
145 | Oxy USA Inc. | 0 | 145
146 | Paragon Cable Company (Time Warner Cable) | 0 | 146
147 | Pathway Com-Tel, Inc | 0 | 147
148 | Peaster ISD | 0 | 148
149 | PEG Bandwidth | 0 | 149
150 | Peoples Communication, Inc. | 0 | 150
151 | Peoples Tel Co-op | 0 | 151
152 | Poka-Lambro Tel Co-op | 0 | 152
153 | Poolville ISD | 0 | 153
154 | Quinlan ISD | 0 | 154
155 | Ranger College | 0 | 155
156 | Reach Broadband | 0 | 156
157 | Red Oak ISD | 0 | 157
158 | Rice ISD | 0 | 158
159 | Ridgewood Cablevision | 0 | 159
160 | Rockdale ISD | 0 | 160
161 | Rockwall County | 0 | 161
162 | Scott & White Hospital | 0 | 162
163 | Smith County (Tyler) | 0 | 163
164 | Snyder ISD | 0 | 164
165 | Southern Methodist University | 0 | 165
166 | Southern Plains Cable | 0 | 166
167 | Southwestern Bell & SESCO | 0 | 167
168 | Springtown ISD | 0 | 168
169 | Sprint United Telephone | 0 | 169
170 | St. Elizabeth Ann Seton Catholic Church | 0 | 170
171 | State Fair of Texas | 0 | 171
172 | Stephen F. Austin State University | 0 | 172
173 | Stephenville ISD - FOLA | 0 | 173
174 | Sugarland Tel Company | 0 | 174
175 | Taylor ISD | 0 | 175
176 | TCG Dallas (OH and UG) | 0 | 176
177 | TCI Cablevision of Dallas, Inc. | 0 | 177
178 | Texas A&M | 0 | 178
179 | Texas A&M University - Commerce | 0 | 179
180 | Texas Alltel, Inc. | 0 | 180
181 | Texas Army National Guard | 0 | 181
182 | Texas Lone Star Network LLC | 0 | 182
183 | Texas State Technical College | 0 | 183
184 | Thrall ISD | 0 | 184
185 | Time Warner Entertainment (Round Rock) | 0 | 185
186 | Time Warner Entertainment (Waco) | 0 | 186
187 | Time Warner Entertainment (Wichita Falls) | 0 | 187
188 | Totelcom Communications | 0 | 188
189 | Town of Highland Park | 0 | 189
190 | Town of Prosper | 0 | 190
191 | TW Telecom of Texas LP | 0 | 191
192 | TXU Generating Company | 0 | 192
193 | Ultra Communications Group LLC | 0 | 193
194 | Unite Private Networks LLC | 0 | 194
195 | University of Texas (AHE) | 0 | 195
196 | Valor Telecom | 0 | 196
197 | Verizon | 0 | 197
198 | Vyve Broadband A (Allegiance) | 0 | 198
199 | Waco ISD | 0 | 199
200 | Waxahachie ISD - DPLA | 0 | 200
201 | Waxahachie ISD - FOLA | 0 | 201
202 | West ISD | 0 | 202
203 | Westdale 2020 Live Oak LP | 0 | 203
204 | Wes-Tex Telecommunications Inc | 0 | 204
205 | Wylie ISD | 0 | 205
206 | Zayo (AboveNet and CoreXchange) | 0 | 206
207 | Zito Media | 0 | 207

## VL_ATTACH_MAINT
VL_ATTACH_MAINT | Attachment Maintainer
VL_KEY | VL_VALUE | UNUSED | ORDINAL
VL_KEY | VL_VALUE | UNUSED | ORDINAL
1 | Aligned Data Centers | 0 | 1
2 | Alliance Bank | 0 | 2
3 | Alpha Systems | 0 | 3
4 | Alpheus Communications LP | 0 | 4
5 | Andrews ISD | 0 | 5
6 | Anna ISD | 0 | 6
7 | Ash Creek Baptist Church | 0 | 7
8 | ATC Outdoor DAS LLC. | 0 | 8
9 | Atmos Energy | 0 | 9
10 | Austin Bank | 0 | 10
11 | Bell County | 0 | 11
12 | Bordercomm Partners LP | 0 | 12
13 | Brazos Tel Co-op Inc. | 0 | 13
14 | Broadwing Communications OH | 0 | 14
15 | Brooks Fiber Comm. of Texas Inc. - OH | 0 | 15
16 | Brooks Fiber Comm. of Texas Inc. - UG | 0 | 16
17 | Brushy Creek MUD | 0 | 17
18 | Buford Media | 0 | 18
19 | Cableone | 0 | 19
20 | Cameron ISD | 0 | 20
21 | Central Texas Cable Partners d/b/a Reveille Broadband | 0 | 21
22 | Century Tel Fiber Co II, LLC | 0 | 22
23 | CenturyTel of Lake Dallas, Inc. | 0 | 23
24 | Charter Communications VI, LLC | 0 | 24
25 | Cherokee County | 0 | 25
26 | City of Allen | 0 | 26
27 | City of Arlington | 0 | 27
28 | City of Austin | 0 | 28
29 | City of Belton | 0 | 29
30 | City of Celina | 0 | 30
31 | City of Colleyville | 0 | 31
32 | City of The Colony | 0 | 32
33 | City of Commerce Police Department | 0 | 33
34 | City of Dallas - McKinney Ave Trolley Assoc. | 0 | 34
35 | City of Dallas CIS (McCommas Bluff Landfill) | 0 | 35
36 | City of Dallas Dept. of Equip. & Bldg. Serv. | 0 | 36
37 | City of Dallas Public Works & Transp. | 0 | 37
38 | City of Dallas Security Cameras | 0 | 38
39 | City of Farmers Branch | 0 | 39
40 | City of Georgetown | 0 | 40
41 | City of Grand Prairie | 0 | 41
42 | City of Harker Heights | 0 | 42
43 | City of Hurst | 0 | 43
44 | City of Irving | 0 | 44
45 | City of Killeen | 0 | 45
46 | City of McKinney | 0 | 46
47 | City of Midland - FOLA | 0 | 47
48 | City of Odessa | 0 | 48
49 | City of Pflugerville | 0 | 49
50 | City of Plano | 0 | 50
51 | City of Roanoke | 0 | 51
52 | City of Round Rock | 0 | 52
53 | City of Rowlett | 0 | 53
54 | City of Stephenville - FOLA | 0 | 54
55 | City of Taylor | 0 | 55
56 | City of University Park | 0 | 56
57 | City of Waco | 0 | 57
58 | City of Waxahachie | 0 | 58
59 | City of Wichita Falls | 0 | 59
60 | City of Willow Park | 0 | 60
61 | CitySquare | 0 | 61
62 | CMC Network Solutions LLC | 0 | 62
63 | Coleman County Telephone Co-op | 0 | 63
64 | Collin County | 0 | 64
65 | Collin County Community College District | 0 | 65
66 | Comcell Inc. (COVERS TSP BELOW) | 0 | 66
67 | Comcell Inc. (SAME AS CATV ABOVE) | 0 | 67
68 | Complete Networking Solutions | 0 | 68
69 | Consolidated Comm.Trans.Co. (OH & UG) | 0 | 69
70 | Consolidated Communications of Texas | 0 | 70
71 | Conterra Ultra Broadband LLC | 0 | 71
72 | Coppell ISD | 0 | 72
73 | Copperas Cove ISD | 0 | 73
74 | Cox Communications West Texas Inc. | 0 | 74
75 | Crown Castle NG Central LLC | 0 | 75
76 | Cumby Tel Co-op Inc. | 0 | 76
77 | Cutter Communications, Inc. | 0 | 77
78 | Dallas MTA, L.P., dba Verizon Wireless* | 0 | 78
79 | Decatur ISD | 0 | 79
80 | Denison ISD | 0 | 80
81 | Digital Passage | 0 | 81
82 | Dublin ISD - FOLA | 0 | 82
83 | Duncanville ISD | 0 | 83
84 | East Texas Cable Company | 0 | 84
85 | Eastex Celco L.L.C. | 0 | 85
86 | Eastex Telephone | 0 | 86
87 | Elgin ISD | 0 | 87
88 | Enchanted Rock Electric LLC | 0 | 88
89 | Erath County | 0 | 89
90 | Extenet (Clearlinx Network Corp.) | 0 | 90
91 | FEC Communications | 0 | 91
92 | FiberLight | 0 | 92
93 | Foremost Telecommunications | 0 | 93
94 | Frisco ISD | 0 | 94
95 | Godley ISD - FOLA | 0 | 95
96 | Graham ISD | 0 | 96
97 | Grande Communications Networks, Inc. | 0 | 97
98 | Grayson Cable Rocket LLC | 0 | 98
99 | Harris Broadband | 0 | 99
100 | Highgate Power | 0 | 100
101 | Hill College | 0 | 101
102 | Hillsboro ISD | 0 | 102
103 | Howard Payne University | 0 | 103
104 | Hutto ISD | 0 | 104
105 | Italy ISD | 0 | 105
106 | Jacksonville ISD | 0 | 106
107 | James Cable LLC (Vyve Broadband J) | 0 | 107
108 | Jubilee Park & Community Center Corp | 0 | 108
109 | KDL | 0 | 109
110 | Koyote Telephone (ENET SOLUTIONS) | 0 | 110
111 | Lamesa ISD | 0 | 111
112 | Level 3 Communications LLC | 0 | 112
113 | Lipan Telephone | 0 | 113
114 | Logix Communications | 0 | 114
115 | LynnStar Communications Inc. | 0 | 115
116 | Master Meter Inc | 0 | 116
117 | MCI Metro Access Trans. Services - OH | 0 | 117
118 | MCI Metro Access Trans. Services - UG & OH | 0 | 118
119 | Melissa ISD | 0 | 119
120 | Metropolitan Fiber Systems Dallas - OH | 0 | 120
121 | Metropolitan Fiber Systems Dallas - UG | 0 | 121
122 | Mexia ISD | 0 | 122
123 | Midway ISD | 0 | 123
124 | Millennium Telcom LLC | 0 | 124
125 | Millsap ISD | 0 | 125
126 | Mitchell County | 0 | 126
127 | Mobilitie Investments III, LLC. | 0 | 127
128 | Moody ISD - FOLA | 0 | 128
129 | Muenster Telephone | 0 | 129
130 | NEC Corporation of America | 0 | 130
131 | Network Communications Telecom | 0 | 131
132 | New Cingular Wireless PC LLC* | 0 | 132
133 | NextEra FiberNet LLC | 0 | 133
134 | North Texas Cellular Inc. | 0 | 134
135 | North Texas Communications | 0 | 135
136 | North Texas Tollway Authority | 0 | 136
137 | Northland Cable Properties | 0 | 137
138 | Northland Cable Television, Inc. | 0 | 138
139 | Northland Cable Ventures | 0 | 139
140 | Northwood University | 0 | 140
141 | NTS Communications Inc | 0 | 141
142 | NTS Communications Inc | 0 | 142
143 | One Ring Networks Inc. | 0 | 143
144 | Opus Fortunatus Three LLC | 0 | 144
145 | Oxy USA Inc. | 0 | 145
146 | Paragon Cable Company (Time Warner Cable) | 0 | 146
147 | Pathway Com-Tel, Inc | 0 | 147
148 | Peaster ISD | 0 | 148
149 | PEG Bandwidth | 0 | 149
150 | Peoples Communication, Inc. | 0 | 150
151 | Peoples Tel Co-op | 0 | 151
152 | Poka-Lambro Tel Co-op | 0 | 152
153 | Poolville ISD | 0 | 153
154 | Quinlan ISD | 0 | 154
155 | Ranger College | 0 | 155
156 | Reach Broadband | 0 | 156
157 | Red Oak ISD | 0 | 157
158 | Rice ISD | 0 | 158
159 | Ridgewood Cablevision | 0 | 159
160 | Rockdale ISD | 0 | 160
161 | Rockwall County | 0 | 161
162 | Scott & White Hospital | 0 | 162
163 | Smith County (Tyler) | 0 | 163
164 | Snyder ISD | 0 | 164
165 | Southern Methodist University | 0 | 165
166 | Southern Plains Cable | 0 | 166
167 | Southwestern Bell & SESCO | 0 | 167
168 | Springtown ISD | 0 | 168
169 | Sprint United Telephone | 0 | 169
170 | St. Elizabeth Ann Seton Catholic Church | 0 | 170
171 | State Fair of Texas | 0 | 171
172 | Stephen F. Austin State University | 0 | 172
173 | Stephenville ISD - FOLA | 0 | 173
174 | Sugarland Tel Company | 0 | 174
175 | Taylor ISD | 0 | 175
176 | TCG Dallas (OH and UG) | 0 | 176
177 | TCI Cablevision of Dallas, Inc. | 0 | 177
178 | Texas A&M | 0 | 178
179 | Texas A&M University - Commerce | 0 | 179
180 | Texas Alltel, Inc. | 0 | 180
181 | Texas Army National Guard | 0 | 181
182 | Texas Lone Star Network LLC | 0 | 182
183 | Texas State Technical College | 0 | 183
184 | Thrall ISD | 0 | 184
185 | Time Warner Entertainment (Round Rock) | 0 | 185
186 | Time Warner Entertainment (Waco) | 0 | 186
187 | Time Warner Entertainment (Wichita Falls) | 0 | 187
188 | Totelcom Communications | 0 | 188
189 | Town of Highland Park | 0 | 189
190 | Town of Prosper | 0 | 190
191 | TW Telecom of Texas LP | 0 | 191
192 | TXU Generating Company | 0 | 192
193 | Ultra Communications Group LLC | 0 | 193
194 | Unite Private Networks LLC | 0 | 194
195 | University of Texas (AHE) | 0 | 195
196 | Valor Telecom | 0 | 196
197 | Verizon | 0 | 197
198 | Vyve Broadband A (Allegiance) | 0 | 198
199 | Waco ISD | 0 | 199
200 | Waxahachie ISD - DPLA | 0 | 200
201 | Waxahachie ISD - FOLA | 0 | 201
202 | West ISD | 0 | 202
203 | Westdale 2020 Live Oak LP | 0 | 203
204 | Wes-Tex Telecommunications Inc | 0 | 204
205 | Wylie ISD | 0 | 205
206 | Zayo (AboveNet and CoreXchange) | 0 | 206
207 | Zito Media | 0 | 207

## VL_ATTACH_PERMIT_SOURCE
VL_ATTACH_SOURCE | Attachment Source
VL_KEY | VL_VALUE | UNUSED | ORDINAL
Audit | Audit | 0 | 1
Permit | Permit | 0 | 2
Inventory | Inventory | 0 | 3
Found | Found | 0 | 4

## VL_ATTACH_STATUS
VL_ATTACH_STATUS | Attachment Status
VL_KEY | VL_VALUE | UNUSED | ORDINAL
Active | Active | 0 | 1
Abandoned | Abandoned | 0 | 2
Removed | Removed | 0 | 3

## VL_MSNGR_ATTACH_TYPE
VL_MSNGR_ATTACH_TYPE | Attachment Messenger Type
VL_KEY | VL_VALUE | UNUSED | ORDINAL
¼” EHS | ¼” EHS | 0 | 1
6 M | 6 M | 0 | 2
3/8” HTL | 3/8” HTL | 0 | 3

## VL_AUTOXFMR_BANK_TYPE
VL_AUTOXFMR_BANK_TYPE | Autotransformer Bank Type
VL_KEY | VL_VALUE | UNUSED | ORDINAL
Auto | Auto | 0 | 1
Step | Step | 0 | 2
Booster | Booster | 0 | 3

## VL_BYPASS_FUSE_RATING
VL_BYPASS_FUSE_RATING | Bypass Fuse Rating
VL_KEY |  | UNUSED | ORDINAL
DISCONNECT |  | 0 | 1

## VL_BUNDLE_TYPE
VL_BUNDLE_TYPE | Bundle Type
VL_KEY | VL_VALUE | UNUSED | ORDINAL
D | DUPLEX | 0 | 1
T | TRIPLEX | 0 | 2
Q | QUAD | 0 | 3

## VL_CAP_BANK_FUNCTION
VL_CAP_BANK_FUNCTION | Capacitor Bank Function
VL_KEY | VL_VALUE | UNUSED | ORDINAL
P | Power Factor
V | Voltage
M | Manual

## VL_CAP_CONTROL_TYPE
VL_CAP_CONTROL_TYPE | Capacitor Control Type
VL_KEY | VL_VALUE | UNUSED | ORDINAL
CURRENT | Current
DUALTEMP | Dual Temperature
MANUAL | Manual
T/T | Time-temperature, electronic
T/V | Voltage, temperature
TEMP | Temperature
TIME | Time
VAR | Var
VOLT | Voltage, electronic
VOLTBIAS | Time-temperature, voltage bias

## VL_CENSUS_BNDY_TYPE
VL_CENSUS_BNDY_TYPE | Census Boundary Type
VL_KEY | VL_VALUE | UNUSED | ORDINAL
Census Tract | Census Tract | 0 | 1
Block Group | Block Group | 0 | 2

## VL_CERT_BNDY_TYPE
VL_CERT_BNDY_TYPE | Certification Boundary Type
VL_KEY | VL_VALUE | UNUSED | ORDINAL
Single | Single | 0 | 1
Dual | Dual | 0 | 2

## VL_CIAC_CODE
VL_CIAC_CODE | CIAC Codes
VL_KEY | VL_VALUE | UNUSED | ORDINAL
I | Improvement | 0 | 1
E | Expansion | 0 | 2
X | Excess Facilities | 0 | 3
N | None | 0 | 4

## VL_CIRCUIT_BREAKER_USE
VL_CIRCUIT_BREAKER_USE | Circuit Breaker Use
VL_KEY | VL_VALUE | UNUSED | ORDINAL
L | Load | 0 | 1
F | Feeder | 0 | 2
B | Backstand | 0 | 3

## VL_COMMS_ATTACH_POSITION
VL_COMMS_ATTACH_POSITION | Wireline Attachment Position
VL_KEY | VL_VALUE | UNUSED | ORDINAL
1 | 1 | 0 | 1
2 | 2 | 0 | 2
3 | 3 | 0 | 3
4 | 4 | 0 | 4
5 | 5 | 0 | 5
6 | 6 | 0 | 6
7 | 7 | 0 | 7
8 | 8 | 0 | 8
9 | 9 | 0 | 9

## VL_COMMS_ATTACH_TYPE
VL_COMMS_ATTACH_TYPE | Wireline Attachment Type
VL_KEY | VL_VALUE | UNUSED | ORDINAL
CATV | CATV | 0 | 1
Fiber Coax | Fiber Coax | 0 | 2
Multipair | Multipair | 0 | 3
Cable | Cable | 0 | 4

## VL_CONFIGURATION
VL_CONFIGURATION | Connectivity Configuration
VL_KEY | VL_VALUE | UNUSED | ORDINAL
* | NULL | 0 | 1
D | DELTA | 0 | 2
Y | WYE | 0 | 3

## VL_CORRECT_TAG_STATUS
VL_CORRECT_TAG_STATUS | Corrections Tag Status
VL_KEY | VL_VALUE
PENDING | Pending
INPROGRESS | In Progress
CLOSED | Closed

## VL_COST_COMPONENT
VL_COST_COMPONENT | Voucher Cost Component
VL_KEY | VL_VALUE | UNUSED | ORDINAL
10 | Oncor & Contractor Labor | 0 | 1
15 | Material | 0 | 2
89 | Miscellaneous | 0 | 3

## VL_COUNTY
VL_COUNTY | FIPS Mapping Table
FIPS_COMPOSITE_C | FIPS_STATE_C | FIPS_COUNTY_C | COUNTY_NM | STATE_ABBR | UNUSED | ORDINAL
48-135 | 48 | 135 | Ector | TX | 0 | 1
48-495 | 48 | 495 | Winkler | TX | 0 | 2
48-001 | 48 | 001 | Anderson | TX | 0 | 3
48-035 | 48 | 035 | Bosque | TX | 0 | 4
48-073 | 48 | 073 | Cherokee | TX | 0 | 5
48-093 | 48 | 093 | Comanche | TX | 0 | 6
48-217 | 48 | 217 | Hill | TX | 0 | 7
48-425 | 48 | 425 | Somervell | TX | 0 | 8
48-349 | 48 | 349 | Navarro | TX | 0 | 9
48-213 | 48 | 213 | Henderson | TX | 0 | 10
48-401 | 48 | 401 | Rusk | TX | 0 | 11
48-133 | 48 | 133 | Eastland | TX | 0 | 12
48-143 | 48 | 143 | Erath | TX | 0 | 13
48-353 | 48 | 353 | Nolan | TX | 0 | 14
48-335 | 48 | 335 | Mitchell | TX | 0 | 15
48-227 | 48 | 227 | Howard | TX | 0 | 16
48-317 | 48 | 317 | Martin | TX | 0 | 17
48-003 | 48 | 003 | Andrews | TX | 0 | 18
48-221 | 48 | 221 | Hood | TX | 0 | 19
48-251 | 48 | 251 | Johnson | TX | 0 | 20
48-139 | 48 | 139 | Ellis | TX | 0 | 21
48-423 | 48 | 423 | Smith | TX | 0 | 22
48-257 | 48 | 257 | Kaufman | TX | 0 | 23
48-467 | 48 | 467 | Van Zandt | TX | 0 | 24
48-417 | 48 | 417 | Shackelford | TX | 0 | 25
48-429 | 48 | 429 | Stephens | TX | 0 | 26
48-151 | 48 | 151 | Fisher | TX | 0 | 27
48-033 | 48 | 033 | Borden | TX | 0 | 28
48-415 | 48 | 415 | Scurry | TX | 0 | 29
48-115 | 48 | 115 | Dawson | TX | 0 | 30
48-165 | 48 | 165 | Gaines | TX | 0 | 31
48-363 | 48 | 363 | Palo Pinto | TX | 0 | 32
48-367 | 48 | 367 | Parker | TX | 0 | 33
48-439 | 48 | 439 | Tarrant | TX | 0 | 34
48-113 | 48 | 113 | Dallas | TX | 0 | 35
48-397 | 48 | 397 | Rockwall | TX | 0 | 36
48-379 | 48 | 379 | Rains | TX | 0 | 37
48-499 | 48 | 499 | Wood | TX | 0 | 38
48-263 | 48 | 263 | Kent | TX | 0 | 39
48-305 | 48 | 305 | Lynn | TX | 0 | 40
48-503 | 48 | 503 | Young | TX | 0 | 41
48-445 | 48 | 445 | Terry | TX | 0 | 42
48-085 | 48 | 085 | Collin | TX | 0 | 43
48-021 | 48 | 021 | Bastrop | TX | 0 | 44
48-121 | 48 | 121 | Denton | TX | 0 | 45
48-497 | 48 | 497 | Wise | TX | 0 | 46
48-223 | 48 | 223 | Hopkins | TX | 0 | 47
48-287 | 48 | 287 | Lee | TX | 0 | 48
48-231 | 48 | 231 | Hunt | TX | 0 | 49
48-159 | 48 | 159 | Franklin | TX | 0 | 50
48-453 | 48 | 453 | Travis | TX | 0 | 51
48-237 | 48 | 237 | Jack | TX | 0 | 52
48-119 | 48 | 119 | Delta | TX | 0 | 53
48-023 | 48 | 023 | Baylor | TX | 0 | 54
48-491 | 48 | 491 | Williamson | TX | 0 | 55
48-009 | 48 | 009 | Archer | TX | 0 | 56
48-147 | 48 | 147 | Fannin | TX | 0 | 57
48-097 | 48 | 097 | Cooke | TX | 0 | 58
48-053 | 48 | 053 | Burnet | TX | 0 | 59
48-181 | 48 | 181 | Grayson | TX | 0 | 60
48-337 | 48 | 337 | Montague | TX | 0 | 61
48-277 | 48 | 277 | Lamar | TX | 0 | 62
48-387 | 48 | 387 | Red River | TX | 0 | 63
48-077 | 48 | 077 | Clay | TX | 0 | 64
48-485 | 48 | 485 | Wichita | TX | 0 | 65
48-331 | 48 | 331 | Milam | TX | 0 | 66
48-027 | 48 | 027 | Bell | TX | 0 | 67
48-487 | 48 | 487 | Wilbarger | TX | 0 | 68
48-371 | 48 | 371 | Pecos | TX | 0 | 69
48-395 | 48 | 395 | Robertson | TX | 0 | 70
48-281 | 48 | 281 | Lampasas | TX | 0 | 71
48-145 | 48 | 145 | Falls | TX | 0 | 72
48-005 | 48 | 005 | Angelina | TX | 0 | 73
48-383 | 48 | 383 | Reagan | TX | 0 | 74
48-461 | 48 | 461 | Upton | TX | 0 | 75
48-225 | 48 | 225 | Houston | TX | 0 | 76
48-103 | 48 | 103 | Crane | TX | 0 | 77
48-475 | 48 | 475 | Ward | TX | 0 | 78
48-289 | 48 | 289 | Leon | TX | 0 | 79
48-099 | 48 | 099 | Coryell | TX | 0 | 80
48-293 | 48 | 293 | Limestone | TX | 0 | 81
48-309 | 48 | 309 | McLennan | TX | 0 | 82
48-347 | 48 | 347 | Nacogdoches | TX | 0 | 83
48-301 | 48 | 301 | Loving | TX | 0 | 84
48-389 | 48 | 389 | Reeves | TX | 0 | 85
48-161 | 48 | 161 | Freestone | TX | 0 | 86
48-083 | 48 | 083 | Coleman | TX | 0 | 87
48-049 | 48 | 049 | Brown | TX | 0 | 88
48-081 | 48 | 081 | Coke | TX | 0 | 89
48-109 | 48 | 109 | Culberson | TX | 0 | 90
48-173 | 48 | 173 | Glasscock | TX | 0 | 91
48-329 | 48 | 329 | Midland | TX | 0 | 92

## VL_CNTY_FILING_LOC
VL_CNTY_FILING_LOC | County Filing Location
VL_KEY | VL_VALUE | UNUSED | ORDINAL
DEED RECORD | DEED RECORD | 0 | 1
EASEMENTS RECORD | EASEMENTS RECORD | 0 | 2
PROBATE RECORD | PROBATE RECORD | 0 | 3

## VL_CU_ACCOUNT
VL_CU_ACCOUNT | Compatible Unit Account Code
VL_KEY | VL_VALUE | UNUSED | ORDINAL

## VL_CU_ACTIVITY
VL_CU_ACTIVITY | Compatible Unit Activity Code
VL_KEY | VL_VALUE | UNUSED | ORDINAL
I | Install
R | Remove
T | Transfer
X | Changeout
IA | Install Associated
IC | Install Correction
RC | Remove Correction
TC | Transfer Correction

## VL_CONDUIT_MATERIAL
VL_CONDUIT_MATERIAL | Conduit Material
VL_KEY | VL_VALUE

## VL_CONDUIT_SIZE
VL_CONDUIT_SIZE | Conduit Size
VL_KEY | VL_VALUE

## VL_CUSTGEN_TYPE
VL_CUSTGEN_TYPE | Customer Generation Type
VL_KEY | VL_VALUE
G | Gas Turbine | 0 | 1
S | Solar | 0 | 2
T | Water-Wheel | 0 | 3
W | Windmill | 0 | 4
B | Battery Storage | 0 | 5

## VL_CUSTGEN_USE_CODE
VL_CUSTGEN_USE_CODE | Customer Generation Use Code
VL_KEY | VL_VALUE

## VL_DA_ANTENNA_TYPE
VL_DA_ANTENNA_TYPE | DA Anetenna Type
VL_KEY | VL_VALUE

## VL_DA_RADIO_TYPE
VL_DA_RADIO_TYPE | DA Radio Type
VL_KEY | VL_VALUE
SPEEDNET | SPEEDNET | 0 | 1
UTILINET | UTILINET | 0 | 2

## VL_DESIGN_RESP
VL_DESIGN_RESP | Design Responsibility
VL_KEY | VL_VALUE
DISTRIB | Distribution
DOWNTOWN | Downtown Network
AIRPORT | Airport

## VL_DOCNOTE_TYPE
VL_DOCNOTE_TYPE | DOC Note Type
VL_KEY | VL_VALUE
NGS | Natural Gas Station
COMMS | Communications
MILITARY | Military
AIRPORT | Airport
WTR/SWR | Water/Sewer
SCH/UNV | School/University
POLICE | Polce Department
FIRE | Fire Station
CITY HALL | City Hall
NURSING | Medical/Nursing Home/Clinic
HOSPITAL | Hospital
8 PSB | Eight Point Star Burst
24 PSB | Twenty Four Point Star Burst

## VL_DUCT_STATE
VL_DUCT_STATE | Duct State
VL_KEY | VL_VALUE
COLLAPSED | Collapsed
STUB | Stub
USABLE | Usable

## VL_LOC_GRADE
VL_LOC_GRADE | Level of Confidence Grade
VL_KEY | VL_VALUE
5 | Lidar | 0 | 1
4 | Confirmed GPS | 0 | 2
3 | Conflated | 0 | 3
2 | Imagery/Conversion | 0 | 4
1 | Landbase | 0 | 5

## VL_EASEMENT_TYPE
VL_EASEMENT_TYPE | Easement Type
VL_KEY | VL_VALUE
Plat | Plat
Instrument | Instrument

## VL_EQP_ATTACH_POSITION
VL_EQP_ATTACH_POSITION | Equipment Attachment Position
VL_KEY | VL_VALUE | UNUSED | ORDINAL
Top of Pole | Top of Pole | 0 | 1
Power Space | Power Space | 0 | 2
Comms Space | Comms Space | 0 | 3
Bracket Arm | Bracket Arm | 0 | 4

## VL_EQP_ATTACH_TYPE
VL_EQP_ATTACH_TYPE | Equipment Attachment Type
VL_KEY | VL_VALUE
Camera | Camera | 0 | 1
Antenna | Antenna | 0 | 2
Cabinet | Cabinet | 0 | 3
Wifi | Wifi | 0 | 4

## VL_FACILITY_FRONT_CODE
VL_FACILITY_FRONT_CODE | Facility Front Code
VL_KEY | VL_VALUE
D | DEAD FRONT | 0 | 1
L | LIVE FRONT | 0 | 2

## VL_FEED_TYPE
VL_FEED_TYPE | Feed Type
VL_KEY | VL_VALUE | UNUSED | ORDINAL
Loop | Loop | 0 | 1
Radial | Radial | 0 | 2

## VL_FEEDER_POSITION
VL_FEEDER_POSITION | Feeder Position
VL_KEY | VL_VALUE
TOP | Top
BOTTOM | Bottom
FIELD | Field
ROAD | Road

## VL_FEEDER_TYPE
VL_FEEDER_TYPE | Feeder Type
VL_KEY | VL_VALUE
DISTRIB | Distribution
AIRPORT | Airport
NETWORK | Network

## VL_FORCABLE_POSITION
VL_FORCABLE_POSITION | Foreign Cable Position
VL_KEY | VL_VALUE
T | Top | 0 | 1
B | Bottom | 0 | 2

## VL_FORCABLE_TYPE
VL_FORCABLE_TYPE | Foreign Cable Type
VL_KEY | VL_VALUE
PRI | Primary
SEC | Secondary
SL | Street Light
COM | Communication

## VL_FUSE_HOLDER_TYPE
VL_FUSE_HOLDER_TYPE | Fuse Holder Type
VL_KEY | VL_VALUE
KRPC | KRPC
Z-Link | Z-Link

## VL_FUSE_INTERRUPT_RATING
VL_FUSE_INTERRUPT_RATING | Fuse Interrupt Rating
VL_KEY | VL_VALUE

## VL_GUY_TYPE
VL_GUY_TYPE | Guy Type
VL_KEY | VL_VALUE

## VL_HYPERLINK_TYPE
VL_HYPERLINK_TYPE | Hyperlink Type
VL_KEY | VL_VALUE | USED | ORDINAL
CONREDLINE | Construction Redlines | 0 | 1

## VL_INNER_DUCT_COLOR
VL_INNER_DUCT_COLOR | Inner Duct Color
VL_KEY | UNUSED | OPTIONAL
BLUE | 0 | 1
RED | 0 | 2
GREEN | 0 | 3
ORANGE | 0 | 4
PURPLE | 0 | 5
BLACK | 0 | 6

## VL_INSTITUTION_CFCC
VL_INSTITUTION_CFCC | Institution CFCC Code
VL_KEY | VL_VALUE | UNUSED | OPTIONAL
D30 | Hospital | 0 | 1
D33 | Nursing Home, Tetirement Home, or Home for the Aged | 0 | 2
D43 | Educational Institution, Educational Academy, School, College, or University | 0 | 3
D96 | City or Town Hall | 0 | 4

## VL_INSULATION_MATERIAL
VL_INSULATION_MATERIAL | Insulation Material
VL_KEY | VL_VALUE

## VL_INSULATION_VOLTAGE
VL_INSULATION_VOLTAGE | Insulation Voltage
VL_KEY | VL_VALUE
15 | OP 12.5 KV -- INS 15 KV
25 | OP 13.2 KV -- INS 25 KV
2 | OP 2.4 KV -- INS 2 KV
25 | OP 24.9 KV -- INS 25 KV
33 | OP 33 KV -- INS 33 KV
4 | OP 4.1 KV -- INS 4 KV

## VL_LANDBASE_STAGE
VL_LANDBASE_STAGE | Landbase Stage
VL_KEY | VL_VALUE | UNUSED | ORDINAL
Accepted | Accepted | 0 | 1
Under Review | Under Review | 0 | 2
Suppressed | Suppressed | 0 | 3
Archived | Archived | 0 | 4

## VL_LANDMARK_CFCC
VL_LANDMARK_CFCC | Landmark CFCC Code
VL_KEY | VL_VALUE | UNUSED | OPTIONAL
D93 | Fire Station or Department | 0 | 1
D10 | Military Installation | 0 | 2
D94 | Police Sation or Department | 0 | 3

## VL_LIFECYCLE_STATES
VL_LIFECYCLE_STATES | Lifecycle States
VL_KEY | VL_VALUE
PPI | Proposed Install
PPR | Proposed Remove
PPA | Proposed Abandon
ABI | As-Built Install
ABR | As-Built Remove
ABA | As-Built Abandon
INI | In Service - Installed
OSR | Out of Service - Removed
OSA | Out of Service - Abandoned
CLS | Closed
LIP | Left In Place

## VL_MAINT_REQ_TYPE
VL_MAINT_REQ_TYPE | Maintained Required Type
VL_KEY | VL_VALUE | UNUSED | ORDINAL

## VL_MAINTAINED_BY
VL_MAINTAINED_BY | Maintained By
VL_KEY | VL_VALUE | UNUSED | ORDINAL
COMPANY | Company | 0 | 1
CUSTOMER | Customer | 0 | 2

## VL_MH_STACKING
VL_MH_STACKING | Manhole Stacking
VL_KEY | VL_VALUE
Single | Single
Double | Double
Triple | Triple

## VL_MH_TYPE
VL_MH_TYPE | Manhole Type
VL_KEY | VL_VALUE
2W | Two-Way
3W | Three-Way
4W | Four-Way
SP | Special
SEC | Secondary

## VL_MISC_STRUCTURE_TYPE
VL_MISC_STRUCTURE_TYPE | Misc Structure Type
VL_KEY | VL_VALUE
BD | Building
BR | Bridge
OT | Other
UP | Underpass
SP | Street Light Point
MS | Mid Span Structure
SPNL | Street Light Point - Non-Located

## VL_NETFUSE_INSIDEOUTSIDE
VL_NETFUSE_INSIDEOUTSIDE | Network Fuse Inside Outside
VL_KEY | VL_VALUE
IN | INSIDE
OUT | OUTSIDE

## VL_NETPROT_MOUNT
VL_NETPROT_MOUNT | Network Protector Mount Type
VL_KEY | VL_VALUE
T | Transformer Mounted
W | Wall Mounted
R | Rack Mounted

## VL_NETPROT_RELAY_MFR
VL_NETPROT_RELAY_MFR | Network Protector Relay Manufacturer Code
VL_KEY | VL_VALUE
CUT HAMMER | Cutler Hammer
EATON | Eaton
ELEC TECH | Electronic Technology
GE | GE

## VL_NETPROT_RELAY_TYPE
VL_NETPROT_RELAY_TYPE | Network Protector Relay Type
VL_KEY | VL_VALUE
Electromechanical | Electromechanical
Microprocessor | Microprocessor

## VL_NETPROT_TYPE
VL_NETPROT_TYPE | Network Protector Type
VL_KEY | VL_VALUE
V | Vented | 0 | 1
S | Submersible | 0 | 2

## VL_NODE_TYPE
VL_NODE_TYPE | Node Type
VL_KEY | VL_VALUE
CHANGE | Conductor Change | 0 | 1
DEADEND | Dead End | 0 | 2
MIDSPAN | Mid-span Tap | 0 | 3
JUNCTION | Junction Point | 0 | 4
JUMPOVER | Jump-over | 0 | 5

## VL_OP_CENTER
VL_OP_CENTER | Operational Center
SERVICE_CENTER_C | SERVICE_CENTER_NM | DISTRICT_C | UNUSED | ORDINAL
BRY | BRYAN | 25
CDR | CEDAR CREEK | 25
CLE | CLEBURNE | 25
DOG | DOGWOOD TRAILS | 25
KIL | KILLEEN | 25
LUF | LUFKIN | 25
NAV | NAVASTONE | 25
PAL | PALESTINE | 25
RRK | ROUND ROCK | 25
SES | SESCO | 25
TEM | TEMPLE | 25
TYL | TYLER | 25
WAC | WACO | 25
WAX | WAXAHACHIE | 25
BEN | BENBROOK | 50
CMP | COMPLIANCE MGMT PLUS | 50
DEN | DENTON | 50
FNE | HEB | 50
FNO | FORT WORTH NORTH | 50
FRE | FT. WORTH REGION ENGINEERING | 50
FSE | ARLINGTON | 50
FWD | FT. WORTH DOC | 50
FWE | FORT WORTH SOUTH | 50
MNW | MINERAL WELLS | 50
ABL | ABILENE | 70
BWD | BROWNWOOD | 70
MDL | MIDLAND | 70
ODE | ODESSA | 70
SGL | SAN ANGELO | 70
WFS | WICHITA FALLS | 70
WRE | WESTERN REGION ENGINEERING | 70
CRE | DALLAS REGION ENGINEERING | 81
DES | Desoto | 81
DNE | DALLAS NORTHEAST | 81
DNO | DALLAS NORTH | 81
DPS | DALLAS - PAYNE STREET | 81
DSW | DALLAS SOUTHWEST | 81
LGN | DALLAS-LOGAN STREET | 81
CDG | CENTRALIZED DESIGN GROUP | 91
DFW | Dallas/Ft. Worth Airport | 91
DRE | NORTHERN REGION ENGINEERING | 91
FBR | IRVING | 91
MCK | MCKINNEY | 91
MSQ | MESQUITE | 91
NCM | NEW CONSTRUCTION MANAGERS | 91
PAR | PARIS | 91
PLA | PLANO | 91
TEX | TEXOMA | 91

## VL_OP_DISTRICT
VL_OP_DISTRICT | Operational District
DISTRICT_C | DISTRICT_NM | OP_CENTER_C | UNUSED | ORDINAL
25 | Southeast | EDOC
50 | Fort Worth | WDOC
70 | Western | WDOC
81 | Dallas | EDOC
91 | Northern | EDOC

## VL_OP_SERVICE_CENTER
VL_OP_SERVICE_CENTER | Operational Service Center
OP_CENTER_C | OP_CENTER_NM | UNUSED | ORDINAL
EDOC | East DOC
WDOC | West DOC

## VL_OPEN_CLOSE
VL_OPEN_CLOSED | Open/Close Status
VL_KEY | VL_VALUE
Open | Open
Closed | Closed

## VL_OPERATIONAL_BND_TYPE
VL_OPERATIONAL_BND_TYPE | Operational Boundary Type
VL_KEY | VL_VALUE
DSTRCT | District
FEEDER | Feeder
FDRSEC | Feeder Section
SVCCTR | Service Center
SUBSTA | Substation

## VL_ORIENTATION
VL_ORIENTATION | Orientation
VL_KEY | VL_VALUE
OH | Overhead
UG | Underground

## VL_OWNER_TYPE
VL_OWNER_TYPE | Owner Type
VL_KEY | VL_VALUE | UNUSED | ORDINAL
COMPANY | Company | 0 | 1
CUSTOMER | Customer | 0 | 2
DONATED | Donated | 0 | 3
FOREIGN | Foreign | 0 | 4
UNKNOWN | Unknown | 0 | 5

## VL_PAD_MATERIAL
VL_PAD_MATERIAL | Pad Material
VL_KEY | VL_VALUE

## VL_PAD_SIZE
VL_PAD_SIZE | Pad Size
VL_KEY | VL_VALUE

## VL_PARCEL_TYPE
VL_PARCEL_TYPE | Parcel Type
VL_KEY | VL_VALUE | UNUSED | ORDINAL
ADDITION | ADDITION | 0 | 1
AMENDMENT | AMENDMENT | 0 | 2
ANCIENT | ANCIENT | 0 | 3
BOUNDARY | BOUNDARY | 0 | 4
COMBINATION | COMBINATION | 0 | 5
CONVEYANCE | CONVEYANCE | 0 | 6
CORRECTED | CORRECTED | 0 | 7
DCAD | DCAD | 0 | 8
DESIGN | DESIGN | 0 | 9
DEVELOMENT | DEVELOMENT | 0 | 10
EXHIBIT | EXHIBIT | 0 | 11
EASEMENT | EASEMENT | 0 | 12
FINAL | FINAL | 0 | 13
FILED | FILED | 0 | 14
FINAL REPLAT | FINAL REPLAT | 0 | 15
GRADING | GRADING | 0 | 16
LAYOUT | LAYOUT | 0 | 17
MASTER | MASTER | 0 | 18
MINOR | MINOR | 0 | 19
OVERALL | OVERALL | 0 | 20
PARTIAL | PARTIAL | 0 | 21
PAVING | PAVING | 0 | 22
PLANNING | PLANNING | 0 | 23
PLAT | PLAT | 0 | 24
PRELIMINARY | PRELIMINARY | 0 | 25
PROPOSED | PROPOSED | 0 | 26
RCAD | RCAD | 0 | 27
RECORD | RECORD | 0 | 28
REFERENCE | REFERENCE | 0 | 29
REPLAT | REPLAT | 0 | 30
REVISION | REVISION | 0 | 31
REZONE | REZONE | 0 | 32
SITE | SITE | 0 | 33
SURVEY | SURVEY | 0 | 34
TCAD | TCAD | 0 | 35
TITLE | TITLE | 0 | 36
UNKNOWN | UNKNOWN | 0 | 37
UTILITY | UTILITY | 0 | 38

## VL_PARCEL_ZONING
VL_PARCEL_ZONING | Parcel Zoning
VL_KEY | VL_VALUE | UNUSED | ORDINAL
COMMERCIAL | COMMERCIAL | 0 | 1
INDUSTRIAL | INDUSTRIAL | 0 | 2
RESIDENTIAL | RESIDENTIAL | 0 | 3
SPECIAL USE | SPECIAL USE

## VL_PERMIT_TYPE
VL_PERMIT_TYPE | Permit Type
VL_KEY | VL_VALUE
OH | Overhead | 0 | 1
UG | Underground | 0 | 2
Bore | Bore | 0 | 3
Temporary | Temporary | 0 | 4

## VL_PHASE
VL_PHASE | Phase
VL_KEY | VL_VALUE | UNIT_PHASE_Q | WIRE_YN | CONNECTOR_YN
A | A | 1 | Y | Y | 0 | 1
B | B | 1 | Y | Y | 0 | 2
C | C | 1 | Y | Y | 0 | 3
AB | AB | 2 | N | Y | 0 | 4
AC | AC | 2 | N | Y | 0 | 5
BC | BC | 2 | N | Y | 0 | 6
ABC | ABC | 3 | N | Y | 0 | 7
N | N | 0 | Y | N | 0 | 8
* | * | 0 | Y | N | 0 | 9

## VL_PHASE_POSITION
VL_PHASE_POSITION | Phase Position
VL_KEY | VL_VALUE | PHASE_C | UNUSED | ORDINAL
N | North | A | 0 | 1
S | South | A | 0 | 2
W | West | A | 0 | 3
E | East | A | 0 | 4
T | Top | A | 0 | 5
B | Bottom | A | 0 | 6
M | Middle | A | 0 | 7
N | North | B | 0 | 8
S | South | B | 0 | 9
W | West | B | 0 | 10
E | East | B | 0 | 11
T | Top | B | 0 | 12
B | Bottom | B | 0 | 13
M | Middle | B | 0 | 14
N | North | C | 0 | 15
S | South | C | 0 | 16
W | West | C | 0 | 17
E | East | C | 0 | 18
T | Top | C | 0 | 19
B | Bottom | C | 0 | 20
M | Middle | C | 0 | 21
NT | Neutral | N | 0 | 22
ST | Static | N | 0 | 23

## VL_PIPELINE_TYPE
VL_PIPELINE_TYPE | Pipeline Type
VL_KEY | VL_VALUE | UNUSED | ORDINAL
PRD | PRD | 0 | 1
EMT | EMT | 0 | 2
LPG | LPG | 0 | 3
AA | AA | 0 | 4
HVL | HVL | 0 | 5
NGL | NGL | 0 | 6
CO2 | CO2 | 0 | 7
CRD | CRD | 0 | 8
NG | NG | 0 | 9
HG | HG | 0 | 10
SG | SG | 0 | 11

## VL_PIPELINE_MATERIAL
VL_PIPELINE_MATERIAL | Pipeline Material
VL_KEY | VL_VALUE | UNUSED | ORDINAL
PLASTIC | PLASTIC | 0 | 1
STEEL | STEEL | 0 | 2
CARBON FIBER | CARBON FIBER | 0 | 3
FIBER GLASS | FIBER GLASS | 0 | 4
UNKNOWN | UNKNOWN | 0 | 5

## VL_PLAT_SOURCE
VL_PLAT_SOURCE | Plat Source
VL_KEY | VL_VALUE | UNUSED | ORDINAL
COUNTY CLERK | COUNTY CLERK | 0 | 1
AGENTS | AGENTS | 0 | 2
CUSTOMER | CUSTOMER | 0 | 3

## VL_POLE_CLASS
VL_POLE_CLASS | Pole Class
VL_KEY | VL_VALUE | UNUSED | ORDINAL
0 | 0 | 0 | 1
1 | 1 | 0 | 2
2 | 2 | 0 | 3
3 | 3 | 0 | 4
4 | 4 | 0 | 5
5 | 5 | 0 | 6
6 | 6 | 0 | 7
7 | 7 | 0 | 8
8 | 8 | 0 | 9
9 | 9 | 0 | 10

## VL_POLE_CONST_TYPE
VL_POLE_CONST_TYPE | Pole Construction Type
VL_KEY | VL_VALUE
A | Armless
D | Delta
H | H Framme
N | No Primary
P | Pole Pin
V | Vertical
X | Cross Arm

## VL_POLE_HEIGHT
VL_POLE_HEIGHT | Pole Height
VL_KEY | VL_VALUE | UNUSED | ORDINAL
0 | 0 | 0 | 1
14 | 14 | 0 | 2
20 | 20 | 0 | 3
25 | 25 | 0 | 4
28 | 28 | 0 | 5
30 | 30 | 0 | 6
35 | 35 | 0 | 7
40 | 40 | 0 | 8
45 | 45 | 0 | 9
50 | 50 | 0 | 10
55 | 55 | 0 | 11
60 | 60 | 0 | 12
65 | 65 | 0 | 13
70 | 70 | 0 | 14
75 | 75 | 0 | 15
80 | 80 | 0 | 16
85 | 85 | 0 | 17
90 | 90 | 0 | 18
95 | 95 | 0 | 19
100 | 100 | 0 | 20
105 | 105 | 0 | 21
140 | 140 | 0 | 22

## VL_POLE_MATERIAL
VL_POLE_MATERIAL | Pole Material
VL_KEY | VL_VALUE | UNUSED | ORDINAL
* | * | 0 | 1
CN | Concrete | 0 | 2
FG | Fiber Glass | 0 | 3
ST | Steel | 0 | 4
WD | Wood | 0 | 5

## VL_POLE_OWNER
VL_POLE_OWNER | Pole Owner
VL_KEY | VL_VALUE
Oncor | Oncor
AT&T | AT&T
Brazos Telephone Co-op | Brazos Telephone Co-op
CenturyLink | CenturyLink
Consolidated Communications of Texas | Consolidated Communications of Texas
Cumby Telephone Co-op | Cumby Telephone Co-op
Eastex Telephone | Eastex Telephone
Frontier | Frontier
Lipan Telephone | Lipan Telephone
Muenster Telephone | Muenster Telephone
Peoples Telephone | Peoples Telephone
Poka-Lambro Telephone Co-op | Poka-Lambro Telephone Co-op
Totelcom Communications | Totelcom Communications
Windstream | Windstream

## VL_POLITICAL_BND_TYPE
VL_POLITICAL_BND_TYPE | Political Boundary Type
VL_KEY | VL_VALUE | UNUSED | ORDINAL
CD | Congressional District | 0 | 1
SSD | State Senate District | 0 | 2
SHD | State House District | 0 | 3
JD | Judicial District | 0 | 4

## VL_PPOD_CLASS
VL_PPOD_CLASS | PPOD Class
VL_KEY | VL_VALUE
PME | PME | 0 | 1
SME | SME | 0 | 2

## VL_PREMISE_DWELLING_TYPE
VL_PREMISE_DWELLING_TYPE | Dwelling Type
VL_KEY | VL_VALUE
ELEV | Elevator
GATE | Gate
HWLT | Highway Light
SIGN | Sign
SLS | Sewer Lift Station
SSYS | Sewer System
STLT | Streetlight
WELL | Waterwell
APT | Apartment
BARN | Barn
BLDG | Building
BSMT | Basement
CBANA | Cabanna
CBLBX | Cable Box
CLBH | Clubhouse
CLTWR | Cell Tower
DEPT | Department
FL | Floor
FRNT | Front
GRGE | Garage
HNGR | Hanger
HSELT | House Lights
LBBY | Lobby
LDLTG | Landscape Lighting
LNDRY | Laundry
LOT | Lot
LOWR | Lower
OFC | Office
PIER | Pier
POOL | Pool
REAR | Rear
RM | Room
SGLT | Signal Light
SHOP | Shop
SIDE | Side
SLIP | Slip
SPKLR | Sprinkler
STE | Suite
TRCOM | Trash Compactor
TRLR | Trailer
UNIT | Unit
UPPR | Upper

## VL_PRICOND_CONSTR_TYPE
VL_PRICOND_CONSTR_TYPE | Primary Conductor Construction Type
VL_KEY | VL_VALUE

## VL_XFMR_PROTECTION_TYPE
VL_XFMR_PROTECTION_TYPE | Protection Type
VL_KEY | VL_VALUE

## VL_PULLBOX_MATERIAL
VL_PULLBOX_MATERIAL | Pull Box Material
VL_KEY | VL_VALUE

## VL_PULLBOX_SIZE
VL_PULLBOX_SIZE | Pull Box Size
VL_KEY | VL_VALUE

## VL_PULLBOX_TYPE
VL_PULLBOX_TYPE | Pull Box Type
VL_KEY | VL_VALUE
PB | Pull box | 0 | 1
SS | Subsurface switch | 0 | 2
ST | Subsurface transformer | 0 | 3

## VL_RACK_MATERIAL
VL_RACK_MATERIAL | Rack Material
VL_KEY | VL_VALUE

## VL_RACK_TYPE
VL_RACK_TYPE | Rack Type
VL_KEY | VL_VALUE
2P | 2P | 0 | 1
3P | 3P | 0 | 2
4P | 4P | 0 | 3

## VL_DA_EQPT_POWER
VL_DA_EQPT_POWER | Radio/Router Power Type
VL_KEY | VL_VALUE
PHOTOCELL | PHOTOCELL | 0 | 1
SECONDARY | SECONDARY | 0 | 2

## VL_RECLOSER_TYPE
VL_RECLOSER_TYPE | Recloser Type
VL_KEY | VL_VALUE
ELE | ELE
HYD | HYD
IR | Intellirupter
OIL | Oil
TRIP | Trip Saver
VAC | Vacuum

## VL_RETIREMENT_TYPE
VL_RETIREMENT_TYPE | CU Retirement Type
VL_KEY | VL_VALUE | UNUSED | ORDINAL
1 | Property | 0 | 1
2 | Substantial | 0 | 2
3 | Subordinate | 0 | 3
4 | O&M Pre-capitalized | 0 | 4

## VL_RIGHTWAY_TYPE
VL_RIGHTWAY_TYPE | Right of Way Type
VL_KEY | VL_VALUE
Major | Major
Minor | Minor
Private | Private
Alley | Alley

## VL_RISER_TYPE
VL_RISER_TYPE | Riser Type
VL_KEY | VL_VALUE
PRI | Primary | 0 | 1
SEC | Secondary | 0 | 2

## VL_RISER_USAGE
VL_RISER_USAGE | Riser Usage
VL_KEY | VL_VALUE
PRI | Primary | 0 | 1
SEC | Secondary | 0 | 2
SER | Service | 0 | 3
STL | Street Light | 0 | 4

## VL_SCADA_DEVICE_FUNCTION
VL_SCADA_DEVICE_FUNCTION | SCADA Device Function
VL_KEY | VL_VALUE | G3E_FNO | UNUSED | ORDINAL | Filter
IT | IntelliTeam | 13 | 0 | 1 | Primary Switch - OH
IT | IntelliTeam | 39 | 0 | 2 | Primary Switch - UG
IT | IntelliTeam | 89 | 0 | 3 | Primary Switch - OH Network
IT | IntelliTeam | 90 | 0 | 4 | Primary Switch - UG Network
ITNS | IntelliTeam No SIM | 13 | 0 | 5 | Primary Switch - OH
ITNS | IntelliTeam No SIM | 39 | 0 | 6 | Primary Switch - UG
ITNS | IntelliTeam No SIM | 89 | 0 | 7 | Primary Switch - OH Network
ITNS | IntelliTeam No SIM | 90 | 0 | 8 | Primary Switch - UG Network
RC | Remote Controlled | 13 | 0 | 9 | Primary Switch - OH
RC | Remote Controlled | 39 | 0 | 10 | Primary Switch - UG
RC | Remote Controlled | 89 | 0 | 11 | Primary Switch - OH Network
RC | Remote Controlled | 90 | 0 | 12 | Primary Switch - UG Network
SECT | Sectionalizer | 13 | 0 | 13 | Primary Switch - OH
SECT | Sectionalizer | 39 | 0 | 14 | Primary Switch - UG
SECT | Sectionalizer | 89 | 0 | 15 | Primary Switch - OH Network
SECT | Sectionalizer | 90 | 0 | 16 | Primary Switch - UG Network
DER | DER | 14 | 0 | 17 | Recloser - OH
DER | DER | 15 | 0 | 18 | Recloser - UG
RECLOSER | Recloser | 14 | 0 | 19 | Recloser - OH
RECLOSER | Recloser | 15 | 0 | 20 | Recloser - UG
MON | Monitoring | 160 | 0 | 21 | Remote Terminal Unit
SIM | Substation Interface Module | 160 | 0 | 22 | Remote Terminal Unit

## VL_SECBOX_MATERIAL
VL_SECBOX_MATERIAL | Secondary Box Material
VL_KEY | VL_VALUE

## VL_SECBOX_SIZE
VL_SECBOX_SIZE | Secondary Box Size
VL_KEY | VL_VALUE

## VL_SECBOX_TYPE
VL_SECBOX_TYPE | Secondary Box Type
VL_KEY | VL_VALUE
HHSEC | Handhole Secondary/Service | 0 | 1
HHSTLT | Handhole Street Light | 0 | 2
HHCUST | Handhole Donated | 0 | 3
PED1 | Pedestal Single Phase | 0 | 4
PED3 | Pedestal Three Phase | 0 | 5
PEDCUST | Pedestal Donated | 0 | 6

## VL_SECBOX_USE
VL_SECBOX_USE | Secondary Box Use
VL_KEY | VL_VALUE
DA | DA | 0 | 1
SA | Above Grade | 0 | 2
DB | DB | 0 | 3
SB | Below Grade | 0 | 4

## VL_SECCOND_TYPE
VL_SECCOND_TYPE | Secondary Conductor Type
VL_KEY | VL_VALUE
SEC | SECONDARY | 0 | 1
STLT | STREETLIGHT | 0 | 2
BUS | BUS | 0 | 3

## VL_SECCONDNODE_TYPE
VL_SECCONDNODE_TYPE | Secondary Node Type
VL_KEY | VL_VALUE
CHANGE | Conductor Change | 0 | 1
DEADEND | Dead End | 0 | 2
JUMPOVER | Jump-over | 0 | 5
OPEN | Open Point | 0 | 6

## VL_SPECIALUSE_TYPE
VL_SPECIALUSE_TYPE | Special Use Types
VL_KEY | VL_VALUE
MUD | Municipal Utility Districts | 0 | 1
MUNIDEV | Municipal Development Districts | 0 | 2
PUD | Public Utility Districts | 0 | 3
WATERCID | Water Control Improvement Districts | 0 | 4
SEWERCID | Sewer Control Improvement Districts | 0 | 5

## VL_SSWG_ENCLOSURE_TYPE
VL_SSWG_ENCLOSURE_TYPE | Secondary Switch Gear Enclosure Type
VL_KEY | VL_VALUE
4000A | 4000A | 0 | 1
16000A | 16000A | 0 | 2
SPACER | SPACER | 0 | 3

## VL_SERVICE_PLACEMENT_TYPE
VL_SERVICE_PLACEMENT_TYPE | Service Placement Type
VL_KEY | VL_VALUE
MATERIAL | Material | 0 | 1
ASSOCIATED | Associated | 0 | 2
AUTOMATED | Automated | 0 | 3

## VL_SERVICEPOINT_TYPE
VL_SERVICEPOINT_TYPE | Service Point Type
VL_KEY | VL_VALUE
HOSP | Hospital | 0 | 1
CRIT CUST | Critical Customer | 0 | 2
COM BLDG | Commercial Building | 0 | 3
RES HOUSE | Residential House | 0 | 4
RES APT | Residential Apartment | 0 | 5

## VL_SERVICE_TYPE
VL_SERVICE_TYPE | Service Type
VL_KEY | VL_VALUE
DB | DB | 0 | 1
IC | IC | 0 | 2
OH | OH | 0 | 3

## VL_STATUS
VL_STATUS | Status
VL_KEY | VL_VALUE
OPEN | Open
CLOSED | Closed

## VL_STLT_CONN_STATUS
VL_STLT_CONN_STATUS | Street Light Connection Status
VL_KEY | VL_VALUE
CON | CONNECTED | 0 | 1
DIS | DISCONNECTED | 0 | 2

## VL_STLT_LAMP_TYPE
VL_STLT_LAMP_TYPE | Street Light Lamp Type
VL_KEY | VL_VALUE | UNUSED | ORDINAL
FL | FL | 0 | 1
HP | HP | 0 | 2
MH | MH | 0 | 3
MV | MV | 0 | 4
LE | LE | 0 | 5
AV | AV | 0 | 6
SV | SV | 0 | 7

## VL_STLT_LUM_STYLE
VL_STLT_LUM_STYLE | Streetlight Luminaire Style
VL_KEY | VL_VALUE | UNUSED | ORDINAL
C | Cobra head | 0 | 1
O | Ornamental | 0 | 2
R | Rectangular | 0 | 3
A | ALL | 0 | 4

## VL_STLT_RATE_CODE
VL_STLT_RATE_CODE | Street Light Rate Code
VL_KEY | VL_VALUE | UNUSED | ORDINAL
200 | 200 | 0 | 1
560 | 560 | 0 | 2
561 | 561 | 0 | 3
570 | 570 | 0 | 4
580 | 580 | 0 | 5
590 | 590 | 0 | 6
690 | 690 | 0 | 7

## VL_STLT_RATE_SCHED
VL_STLT_RATE_SCHED | Street Light Rate Schedule
VL_KEY | VL_VALUE | UNUSED | ORDINAL
A | A | 0 | 1
B | B | 0 | 2
C | C | 0 | 3
D | D | 0 | 4
I | I | 0 | 5
P | P | 0 | 6
R | R | 0 | 7
T | T | 0 | 8
Z | Z | 0 | 9

## VL_STLT_TYPE
VL_STLT_TYPE | Street Light Type
VL_KEY | VL_VALUE | UNUSED | ORDINAL
STREET | Street Light | 0 | 1
AREA | Area Light | 0 | 2
GUARD | Guard Light | 0 | 3
TRAFFIC | Traffic Light | 0 | 4

## VL_STLT_WATTAGE
VL_STLT_WATTAGE | Street Light Wattage
VL_KEY | VL_VALUE | UNUSED | ORDINAL
53 | 53 | 0 | 1
54 | 54 | 0 | 2
57 | 57 | 0 | 3
78 | 78 | 0 | 4
83 | 83 | 0 | 5
86 | 86 | 0 | 6
92 | 92 | 0 | 7
100 | 100 | 0 | 8
115 | 115 | 0 | 9
125 | 125 | 0 | 10
126 | 126 | 0 | 11
139 | 139 | 0 | 12
146 | 146 | 0 | 13
150 | 150 | 0 | 14
152 | 152 | 0 | 15
157 | 157 | 0 | 16
175 | 175 | 0 | 17
189 | 189 | 0 | 18
200 | 200 | 0 | 19
250 | 250 | 0 | 20
295 | 295 | 0 | 21
400 | 400 | 0 | 22
1000 | 1000 | 0 | 23

## VL_STREET_DIR
VL_STREET_DIR | Street Direction
VL_KEY
NW
N
NE
E
SE
S
SW
W

## VL_SUBSTATION_TYPE
VL_SUBSTATION_TYPE | Substation Type
VL_KEY | VL_VALUE | UNUSED | ORDINAL
D | Distribution | 0 | 1
T | Transmission | 0 | 2

## VL_SUB_XFMR_TYPE
VL_SUB_XFMR_TYPE | Substation Transformer Type
VL_KEY | VL_VALUE | UNUSED | ORDINAL
Permanent | Permanent
Mobile | Mobile

## VL_SWITCH_CONTROL_TYPE
VL_SWITCH_CONTROL_TYPE | Switch Gear Control Type
VL_KEY | VL_VALUE | UNUSED | ORDINAL
ATO | ATO | 0 | 1
RC | RC | 0 | 2

## VL_SWITCH_TYPE
VL_SWITCH_TYPE | Switch Type
VL_KEY | VL_VALUE | UNUSED | ORDINAL
ATO | Automatic Throw Over | 0 | 1
DSC | Disconnect | 0 | 2
VAC | Vacuum | 0 | 3
VIS | Vista Gear | 0 | 4

## VL_TRAFFIC_CITY
VL_TRAFFIC_CITY | Traffic Light City
VL_KEY | VL_VALUE | UNUSED | OPTIONAL

## VL_TRAFFIC_ACCOUNT
VL_TRAFFIC_ACCOUNT | Traffic Light Account
VL_KEY | VL_VALUE | UNUSED | OPTIONAL

## VL_TRAFFIC_RATE_CODE
VL_TRAFFIC_RATE_CODE | Traffic Light Rate Code
VL_KEY | VL_VALUE | UNUSED | OPTIONAL

## VL_TRANSIT_CFCC
VL_TRANSIT_CFCC | Transit CFCC Code
VL_KEY | VL_VALUE | UNUSED | OPTIONAL
1 | Bus Terminal | 0 | 1
2 | Ferry Terminal | 0 | 2
3 | Train Terminal | 0 | 3

## VL_TELECOM_ANT_TYPE
VL_TELECOM_ANT_TYPE | Telecom Antenna Type
VL_KEY | VL_VALUE | UNUSED | OPTIONAL
Omnidirectional | Omnidirectional | 0 | 1
Yagi | Yagi | 0 | 2
Grid Parabolic | Grid Parabolic | 0 | 3
Solid Parabolic | Solid Parabolic | 0 | 4

## VL_TELECOM_RADIO_SYSTEM
VL_TELECOM_RADIO_SYSTEM | Telecom Radio System
VL_KEY | VL_VALUE | UNUSED | ORDINAL
LMR | Land Mobile Radio | 0 | 1
TRS | Trunked Radio System | 0 | 2
MA | Multiple Address | 0 | 3
FN | Field Network | 0 | 4

## VL_TRIP_CURRRENT_RATING
VL_TRIP_CURRRENT_RATING | Trip Current Rating
VL_KEY | VL_VALUE | UNUSED | ORDINAL
300 | 300 | 0 | 1
600 | 600 | 0 | 2
800 | 800 | 0 | 3
1000 | 1000 | 0 | 4
1200 | 1200 | 0 | 5

## VL_VOLTAGE_PRIMARY
VL_VOLTAGE_PRIMARY | Operating Voltage - Primary
VL_KEY | VL_VALUE | UNUSED | ORDINAL
12.5 | OP 12.5KV
13.2 | OP 13.2KV
15 | OP 15KV
2 | OP 2 KV
21.6 | OP 21.6KV
22 | OP 22KV
24.9 | OP 24.9KV
25 | OP 25KV
33 | OP 33KV
4 | OP 4KV

## VL_VOLTAGE_SECONDARY
VL_VOLTAGE_SECONDARY | Operating Voltage - Secondary
VL_KEY | VL_VALUE | UNUSED | ORDINAL
120 | 120
120/240 | 120/240
14400/24960 | 14400/24960
208Y/120 | 208Y/120
240/480 | 240/480
2400/4160 | 2400/4160
480Y/277 | 480Y/277
7200/13200 | 7200/13200
216V/208V | 216V/208V
4KV | 4KV
12.5/13.2 | 12.5/13.2
480V | 480V

## VL_XFMR_BANK_CONFIG
VL_XFMR_BANK_CONFIG | Transformer Bank Configuration
VL_KEY | VL_VALUE | UNUSED | ORDINAL
SINGLE | Single | 0 | 1
WYE | Wye | 0 | 2
DELTA | Delta | 0 | 3
OPENDELTA | Open Delta | 0 | 8
OPENWYE | Open Wye | 0 | 9

## VL_XFMR_PROT_TYPE
VL_XFMR_PROT_TYPE | Transformer Protection Type
VL_KEY | VL_VALUE | UNUSED | ORDINAL
CSP | CSP | 0 | 1
CONV | Conventional | 0 | 2

## VL_TRANS_TOWER_TYPE
VL_TRANS_TOWER_TYPE | Transmission Tower Type
VL_KEY | VL_VALUE
LATTICE | Lattice
STEEL | Steel
WOOD | Wood
CONCRETE | Concrete

## VL_VAULT_EQPT_TYPE
VL_VAULT_EQPT_TYPE | Vault Equipment Type
VL_KEY | VL_VALUE | UNUSED | ORDINAL
C | Convection | 0 | 1
F | Fan | 0 | 2
FW | Fenwall | 0 | 3
L | Ladder | 0 | 4
OS | Oil Sensor | 0 | 5
PS | Power Supply | 0 | 6
P | Pump | 0 | 7
R | Refrigeration | 0 | 8
VG | Vault Guard | 0 | 9
O | Other | 0 | 10

## VL_VAULT_ACC_TYPE
VL_VAULT_ACC_TYPE | Vault Access Type
VL_KEY | VL_VALUE | UNUSED | OPTIONAL
UG | Underground | 0 | 1
WALKIN | Walk-in | 0 | 2
FLOOR | Floor | 0 | 3
ROOF | Roof | 0 | 4

## VL_VAULT_VOLTAGE
VL_VAULT_VOLTAGE | Vault Voltage
VL_KEY | VL_VALUE
208 | 208
480 | 480
4kv | 4kv
13kv | 13kv

## VL_WIRE_MATERIAL
VL_WIRE_MATERIAL | Wire Material
VL_KEY | VL_VALUE | UNUSED | ORDINAL

## VL_WIRE_SIZE
VL_WIRE_SIZE | Wire Size
VL_KEY | VL_VALUE | UNUSED | ORDINAL
* | * | 0 | 1
1 | 1 | 0 | 2
1/0 | 1/0 | 0 | 3
2 | 2 | 0 | 4
2/0 | 2/0 | 0 | 5
250 | 250 | 0 | 6
3/0 | 3/0 | 0 | 7
3/10 | 3/10 | 0 | 8
3/12 | 3/12 | 0 | 9
3/8 | 3/8 | 0 | 10
300 | 300 | 0 | 11
336 | 336 | 0 | 12
350 | 350 | 0 | 13
4 | 4 | 0 | 14
4/0 | 4/0 | 0 | 15
477 | 477 | 0 | 16
556 | 556 | 0 | 17
6 | 6 | 0 | 18
636 | 636 | 0 | 19
795 | 795 | 0 | 20
8 | 8 | 0 | 21
840 | 840 | 0 | 22
9 | 9 | 0 | 23

## VL_WIRE_TYPE
VL_WIRE_TYPE | Wire Type
VL_KEY | VL_VALUE | UNUSED | ORDINAL
AAAC | AAAC | 0 | 1
AAC | AAC | 0 | 2
ACSR | ACSR | 0 | 3
AL | AL | 0 | 4
AWAC | AWAC | 0 | 5
CAAC | CAAC | 0 | 6
CU | CU | 0 | 7
CUW | CUW | 0 | 8
CW | CW | 0 | 9
FE | FE | 0 | 10
STL | STL | 0 | 11
* | * | 0 | 12

## VL_WORKPOINT_TYPE
VL_WORKPOINT_TYPE | Work Point Type
VL_KEY | VL_VALUE
P | POINT
S | SPAN

## VL_YES_NO
VL_YES_NO | Y/N
VL_KEY | VL_VALUE
Y | Yes
N | No

## VL_YES_NO_UNK
VL_YES_NO_UNK | Y/N/UNK
VL_KEY | VL_VALUE
Yes | YES
No | NO
Unknown | UNK

## TAX_JURISDICTION
TAX_JURISDICTION | Tax Jurisdiction Entities
JURISDICTION_CODE | JURISDICTION_COUNTY | JURISDICTION_TYPE_C | JURISDICTION_DESCRIPTION | JURISDICTION_STATUS
CO |  | County | County
CT |  | City | City
SC |  | School District | School District
SP |  | Special | Special Use District